# Keep Your Eyes On It: Measuring Gaze Utility and Re-identification Risk in De-identified Smartphone Gaze Data

## Abstract

Smartphone eye tracking moves oculomotor assessment out of the clinic, but it records video of the participant's face, which blocks the dataset sharing the field depends on. Face de-identification has been proposed as the remedy and judged by whether the de-identified face still matches the real one. We measure what such a release protects and what a gaze model trained on it is worth.

We introduce CognitiveGaze: 18 participants performing seven oculomotor tasks, recorded simultaneously by a smartphone and an EyeLink 1000, so every frame carries physiological ground-truth gaze. We evaluate face swapping, inpainting and diffusion de-identification with four gaze architectures, deployed on and retrained on each release, and with two face recognisers.

Retaining the genuine eye region recovers 85–106% of the accuracy lost to synthesis, yet those eye crops verify identity at 62–80% against a 1.6% floor: the eye pixels that make gaze estimation work are the pixels that identify. Synthesising the eyes defeats matching on the eye crops, but synthetic face crops still verify at 18–24%, and every release that retains gaze information still singles out each participant, which under European anonymisation guidance leaves it personal data. Inpainted eyes carry no recoverable gaze. A diffusion anonymiser yields the models that transfer best to real faces (0.4–1.3 cm against 2.5–6.2 cm), but its pupils follow true gaze less closely than face-swapped ones, and stronger settings trade pupil signal for identity without reducing linkability. No configuration we tested is both private and useful. We state what a releasable gaze corpus requires and release an audit tool and checklist.

CCS Concepts: • Security and privacy → Pseudonymity, anonymity and untraceability; • Human-centered computing → Empirical studies in ubiquitous and mobile computing; • Computing methodologies → Biometrics.

Additional Key Words and Phrases: smartphone gaze estimation, face de-identification, re-identification, linkage attack, privacy–utility trade-off, ocular biometrics, dataset release, privacy auditing

# 1 Introduction

Oculomotor function is a sensitive early marker of neurological and cognitive change, and the instruments that measure it well — infrared trackers such as the EyeLink 1000 — are confined to the clinic. Smartphone gaze estimation moves the measurement to where the patient already is [krafka16, valliappan20], which is why it has become an active route to accessible screening. What it does not move is the data. A smartphone eye tracker records video of the participant's face, and a face video is not a shareable research artefact. The result is a field whose progress depends on shared corpora and whose corpora cannot be shared.

The consequence is a cycle that reproduces its own scarcity (Figure 1).

Figure 1. The data-scarcity cycle in smartphone gaze research. Few public corpora record the face under conditions a study can use (1), so study designs converge on the same corpora and inherit their protocol (2). Groups that record data for a clinical question (3) cannot release it, because face video is personal and health data (4), and the standard exits do not yield a usable public corpus: blurring or masking removes the gaze geometry, computation on data that stays with its holder produces no shared benchmark, and controlled access restricts who can use it (5). The corpus stays unreleased or restricted, and the next group faces the same scarcity (6). A de-identification that removes identity and keeps gaze would break the cycle at step 5; this paper measures whether any current method does.

Researchers who want to study gaze on smartphones find few public corpora that record the face under conditions they can use, so they build on the same few — GazeCapture above all [krafka16] — and their study designs inherit those corpora's assumptions: a hand-held phone, a small screen with the camera above it, a viewing distance of a few tens of centimetres, and the position of an on-screen target standing in for measured gaze. Newer datasets adopt the same protocol to remain comparable [zjugaze, dynamicgaze], so the assumptions harden into the benchmark. Clinical oculomotor protocols break most of them — stimuli span a large display viewed from a metre away, and the quantity of interest is the gaze trajectory rather than the location of a target — and whether models developed under the hand-held protocol transfer to them is largely untested. Clinical groups that do record such data hold it in separate silos, so there is no common reference against which analysis choices can be checked, and those choices multiply [simmons11, carp12]. A group that records the data a clinical question needs then wants to release it, and meets the privacy problem. Face video of a study participant is personal data, and in a clinical study also health data, a special category under the GDPR [gdpr]; full-face photographs and comparable images are among the identifiers HIPAA requires to be removed [hipaa]. None of the standard exits yields a corpus the next group can use. Blurring or masking the face removes the geometry a gaze model reads [blurmask, disguises]. Computation on data that stays with its holder — homomorphic encryption, federated learning — leaves the data where it is and produces no shared benchmark, at a computational cost that is prohibitive for video [acar18he, kairouz21fl]. Controlled access, the usual compromise, admits only those who can apply to and sign an agreement with the holding institution. The corpus stays unreleased or restricted, and the next group looking for usable public data finds the same few corpora. The cycle closes.

It has one step at which it could break without giving up release: a transformation that removes identity and keeps the gaze signal would let a clinical gaze corpus be shared openly. Generative de-identification is the proposed candidate: replace the face, keep the behaviour. Face swapping is attractive here because it is meant to preserve the geometry — head pose, eyelid aperture, iris position — that a gaze model reads, where methods that inpaint the ocular region destroy it. It has been applied to clinical video of movement disorders, autism assessments and epileptic seizures [zhu20deepfakes, disguises, li24seizure]; gaze is known to degrade under it unless the generator is explicitly constrained to keep it [wilson23gaze]; and a recent evaluation concludes that face swapping hides identity effectively enough to serve as a video anonymiser [mustu25] — measured, as in the work before it, by whether the swapped face can be matched to the person's real face.

We find that it does not, for gaze data, and that the reason is structural rather than a shortcoming of any particular generator. Two observations drive the paper. First, the ocular region is not a de-identified crop of the face: a 120 px eye ROI handed to a pretrained recogniser verifies identity at 62–80% at a false-accept rate of 1e-3, against a measured floor of 1.6%. The pixels that carry the gaze signal are the pixels that carry the identity, so a protocol that recovers accuracy by retaining genuine ocular imagery retains the biometric with it. Second, replacing the whole face — ocular region included — removes the correspondence between the released eye crops and the participant's real face, but not between the synthetic face crop and the real face, and it leaves the released corpus exactly partitionable by individual — which, under the European test for anonymisation, is enough for the data to remain personal data [wp29anon]. Identity replacement is per-participant consistent, and the channels that remain are illumination, skin tone, periocular geometry and crop scale: attributes of the person that lie outside the inner-face region any swapping method edits.

These are claims about measurement, so the paper is built around an instrument. We introduce CognitiveGaze: 18 participants performing seven oculomotor tasks, recorded simultaneously by a smartphone and an EyeLink 1000 and synchronised to the frame, so that each smartphone frame carries a physiological ground-truth gaze coordinate rather than a screen-target label. That is what makes a sub-centimetre difference on the utility axis interpretable. The protocol is deliberately not GazeCapture's: stimuli appear on a 53 × 30 cm display viewed from 80–120 cm, not on the phone's own screen, and they are clinical oculomotor tasks — the kind of corpus the cycle above keeps unreleased. On the privacy axis we adopt the discipline of the security literature: a stated attacker, a pretrained recogniser never trained on our data, a second recogniser family as a cross-check, and a session-nuisance control that establishes what "no identity signal" scores on single-session recordings — without which a 62% verification rate cannot be distinguished from the fact that each participant was recorded once, in one chair, under one lamp.

This paper makes four contributions.

A privacy evaluation protocol for gaze corpora. We evaluate de-identification the way the security literature evaluates it — with a stated attacker, a pretrained recogniser that never sees our data, and a session-nuisance control — rather than asserting it from the generator's objective. We distinguish re-identification by an attacker holding the participants' photographs (A1) from a test of whether the released content singles out individuals with no external reference (A2, the linkability criterion of the European anonymisation standard), and show the two differ by up to 60 points on identical pixels, which makes an unqualified privacy number uninterpretable. We release the protocol as an audit tool and a fifteen-item release checklist for gaze corpora, distilled into seven design guidelines (§10) [privaudit-repo]; run on this study's saved embeddings it reproduces every eye-ROI verification and linkage figure exactly, and end to end, re-embedding the crops, to within GPU inference noise.

Gaze utility and linkability share a representation. The ocular region is simultaneously the signal gaze estimation needs and the region that identifies best per pixel. We show that the protocol which recovers accuracy does so by releasing genuine ocular biometrics — recovering 85–101% of the synthesis penalty in every architecture we test, and 91–106% when the models are retrained on the release, because in every case what it restores is the participant's own eye pixels. Releasing landmark geometry instead of pixels does not escape this: four iris coordinates per frame still link the release (ARI 0.27, verification 10% against a 1.6% floor) while predicting gaze barely better than the mean. And full synthesis, which does remove the correspondence to the real face, still leaves the corpus exactly partitionable by individual. Because the residual channels — illumination, skin tone, periocular geometry, crop scale — lie outside the edit domain of inner-face replacement, the limit is structural rather than a defect of one generator: we confirm it on a second family — DeepPrivacy2, which removes identity by inpainting rather than replacing it, and in its face mode touches 40% more of the crop — and the released face crop is still exactly partitionable (ARI 1.000); so is it, near enough (0.982), when DeepPrivacy2 repaints the whole person but keeps each participant's synthetic identity fixed.

A tested, two-part condition for breaking content-based linkage. Rather than stopping at a negative result, we state the requirement as a falsifiable claim and test it by construction. It concerns releases that strip participant identifiers; one that keeps them, as a usable gaze corpus must, is linkable by construction. Linkage from the released content falls only when both the transformation breaks per-participant consistency and the released crop contains nothing outside the transformation's edit domain. We test it as a 2×2 — face-only vs full-body DeepPrivacy2, fixed vs per-frame identity — and only the cell that meets both halves breaks: face-crop linkage is 1.000, 0.982 and 0.982 in the other three cells and 0.297 in that one, where an attacker who does not know the cohort size recovers no structure at all (ARI 0.000). It breaks discovery, not verification: an attacker holding a few labelled frames per person still verifies 35.7% [27, 45] of that cell's face crops, against 90–100% in the other three and a 1.6% floor. On the eye ROI, which contains only edited pixels, per-frame identity alone suffices: verification 63.2% → 2.04% and linkage 0.805 [0.63, 0.94] → 0.148 [0.10, 0.27], against floors of 1.57% and 0.074. The one configuration that breaks linkage repaints the eyes, and a gaze model retrained on repainted eyes does no better than predicting the screen centre. Each half of the condition is attainable on its own — a diffusion anonymiser meets the first, full-body inpainting meets both while destroying the gaze signal — which locates what is missing precisely: a gaze-preserving generator whose edit domain covers the whole released crop. This tells a dataset author what to do, and what it costs, not merely what fails.

CognitiveGaze, and a four-architecture utility benchmark under de-identification. 18 participants, smartphone and EyeLink 1000 recorded simultaneously across seven oculomotor tasks. We report the utility cost of both de-identification protocols, for two de-identification families, under three conditions — trained on real data and deployed on the de-identified crops, and retrained on the de-identified release then tested on real or on de-identified faces — against a measured initialisation noise floor and a predict-the-mean reference that marks where a model has learned no gaze at all, including a face-only positive control that isolates whether a model's ocular stream is active at all.

# 2 Related Work

Smartphone gaze estimation. Appearance-based gaze estimation on commodity phones was established by iTracker and the GazeCapture corpus [krafka16], and brought to research-grade accuracy with per-participant calibration by Valliappan et al. [valliappan20]. Subsequent architectures refine how the ocular stream is conditioned on facial context: AFFNet modulates eye features through adaptive group normalisation driven by a face-and-grid guidance factor [affnet], and MGazeNet extends the idea with linear adaptive batch normalisation [zhu24]. All of them consume the same released artefacts — a face ROI, two eye ROIs and a face grid — so all of them inherit the same data-sharing problem.

Face de-identification. Methods built for anonymisation optimise identity removal. The k-Same family guarantees that a released face cannot be matched to fewer than k enrolled identities by replacing faces with averages [newton05], and its neural successors extend the guarantee to generated faces [ksamenet]. DeepPrivacy inpaints the facial region with a conditional generator, preserving pose and background [deepprivacy]; DeepPrivacy2 extends inpainting to the whole body, on the argument that face anonymisation leaves identifiers outside the face, and evaluates it by re-identifying anonymised pedestrians from original images [deepprivacy2]; CIAGAN conditions the generation so that expression and pose survive while identity does not [ciagan]; more recent work removes identity with diffusion models, conditioning a generator on the source face so that attributes survive [fams], or editing in diffusion latent space, including training-free variants [fluid, apl]. Face swapping methods such as SimSwap and SimSwap++ instead optimise identity replacement [simswap, simswappp]. The distinction is expected to matter for gaze: removal methods that inpaint the ocular region should destroy the signal the task depends on, whereas replacement is meant to preserve the underlying geometry. We measure both expectations. The first holds outright — a gaze model retrained on inpainted eyes learns nothing — but the second only partly: synthetic eyes keep enough geometry to cost 2–5 cm rather than everything. On the privacy axis the difference in objective does not decide the outcome, because the leakage we measure lies outside the edit domain that both families share.

Face swapping as a privacy mechanism. Swapping has accordingly been proposed for exactly our setting. Zhu et al. swap faces in clinical movement videos and show that body keypoints needed for diagnosis survive [zhu20deepfakes]; Li et al. compare three swapping models, SimSwap among them, on seizure videos, rated subjectively on retained semiology [li24seizure]. Wilson et al. build a face-swap pipeline for recorded clinical assessments and give the first privacy–utility methodology for patient-privacy face swaps, measuring how far gaze and expression survive relative to blurring [disguises]; they then add a gaze-prediction loss to the swap model, because full-face losses miss the small eye region and gaze is not otherwise preserved [wilson23gaze]. A digital-mask approach was reported in the clinical literature [digitalmask] and promptly contested [maskconcerns], so the sufficiency of generative de-identification for clinical release is an open question rather than a settled one. Most directly, Muştu and Ekenel evaluate face swapping as a video anonymiser on temporal consistency, anonymity strength and visual fidelity, and conclude that it hides identity effectively [mustu25]. We reach the opposite conclusion, and the difference is the test. Anonymity strength as measured there asks whether a swapped face can be matched to the person's real face. On that question our results agree for the synthesised eye crops, which fall to the floor, but not for the synthetic face crop, which still verifies against the participant's photographs at a strict operating point. Nor does it ask whether the released corpus singles out individuals with no external reference — the linkability criterion under which European regulators judge whether data are anonymous [wp29anon] — and that property survives the swap almost intact.

Eye movement as a biometric. Identity is recoverable from eye movement itself, through oculomotor-plant characteristics and scanpath statistics [rigas, holland], as formalised by the BioEye and EMVIC benchmarks [bioeye]. The eye-tracking privacy literature that follows has developed differential-privacy mechanisms that account for temporal correlation [bozkir, steil], reinforcement-learning obfuscation [fuhl], and privacy-preserving scanpath comparison [scanpath]; the area now has a decade review [etprivreview] and a treatment specific to handheld mobile devices [alsakar25]. This line is why we do not treat a pixel-free release tier as risk-free by construction, and instead measure it.

# 3 The CognitiveGaze Dataset

CognitiveGaze was recorded to benchmark smartphone gaze estimation against a physiological ground truth rather than against the position of an on-screen target.

Participants. Twenty-three volunteers (13 male, 10 female) were recruited. Five were excluded before analysis for calibration failure or incomplete data acquisition, leaving a final cohort of N = 18. Inclusion required no history of photosensitive migraine, epilepsy, motion sickness, or substance use affecting oculomotor function. The final cohort spanned 20 to 54 years (median 29) and comprised White/Caucasian (n = 12), East Asian (n = 2), Black/African (n = 1), Middle Eastern (n = 1), Asian-Indian (n = 1) and mixed-background (n = 1) participants. Three wore glasses. Unlike many open gaze corpora, we did not exclude spectacle wearers, because vision correction is frequently a prerequisite for completing a cognitive protocol and excluding it would compromise clinical generalisability. One participant has no usable ground-truth gaze recording; utility analyses therefore use 17 participants and privacy analyses all 18. The protocol was approved by the institutional research ethics committee (reference withheld for review), and written informed consent was obtained after a briefing on the protocol and its risks.

Apparatus. Participants sat 80–120 cm from a 53.3 × 29.6 cm display (1920 × 1080 px) without head restraint (Figure 2). Ground-truth gaze was recorded at 1000 Hz by an EyeLink 1000, calibrated with a standard nine-point sequence; a target sticker on the forehead supported head tracking. A smartphone (Xiaomi Mi 8) was mounted directly below the display, and its rear camera (12 MP, 30 fps) recorded the participant's face. Stimuli were programmed in PsychoPy. Blinks and tracking losses appear as missing samples in the ground truth; unlike the GazeCapture protocol, blink frames were retained and annotated by a blink detector, because blink behaviour is itself a cognitive marker.

Tasks. The battery was designed with rehabilitation specialists and informed by established smartphone eye-tracking protocols [valliappan20]. After calibration, participants completed seven oculomotor tasks: fixation stability on a central cross; prosaccades to targets at the four screen corners and then five random locations; anti-saccades, in which participants suppressed the reflexive saccade to a red target at one of eight peripheral positions and looked instead to its mirror location; smooth pursuit of a target moving horizontally at constant speed along a triangular waveform; optokinetic nystagmus, tracking one stripe of a drifting vertical grating until it left the screen; free viewing of 30 natural scenes from the OSIE dataset [osie]; and visual search for a named target in 12 of those scenes. Each block was preceded by a 10–20 s instruction screen, rest breaks were interspersed between blocks, and participants were familiarised with the instructions beforehand.

Synchronisation. Participant and investigator kept silent during trials, because sound is the synchronisation channel. A 0.6 s tone preceded each task block; it was recorded by the smartphone microphone and timestamped by the experiment software. Detecting its onset in the smartphone audio gives a shared anchor t₀, against which video frame indices are mapped to EyeLink time. The 1000 Hz ground truth is then resampled to the 30 Hz video, so that every smartphone frame carries a synchronised ground-truth gaze coordinate (x, y).

[Figure 2: image from the previous manuscript]

Figure 2. Data acquisition setup. (A) Participant station: the participant sits 80–120 cm from the stimulus display without head restraint; the smartphone is mounted below the display and the EyeLink 1000 records ground-truth gaze. (B) Control workstation: the investigator monitors the live gaze trace and calibration accuracy.

# 4 Gaze Estimation Models

Inputs. Every model consumes the same four streams extracted from each smartphone frame: the left-eye, right-eye and face ROIs, resized to 224 × 224 × 3, and a 25 × 25 binary face grid encoding the face's position in the frame. These cropped streams, not the video, are what a release would contain (§6).

Architectures. We evaluate four published architectures (Table 1, Figure 3). iTracker and MobileNet-V3 fuse the streams late, concatenating the per-stream embeddings before a fully connected regression head; AFFNet and MGazeNet instead regress a guidance factor from the face and use it to modulate the normalisation of the eye features. We adapted MGazeNet to 224 px input, with an additional squeeze-and-excitation and LABN block in its fusion stage.

Table 1. The four gaze architectures. All regress the gaze point (x, y) on the display.

| Model | Eye streams | Face and grid streams | Fusion and normalisation |
| --- | --- | --- | --- |
| iTracker [krafka16] | weight-shared CNN, 128-d | face CNN, 64-d; grid MLP, 128-d | late concatenation |
| MobileNet-V3 Large [mobilenetv3] | MobileNet-V3 backbones | MobileNet-V3 face backbone; grid encoding as iTracker | late concatenation |
| AFFNet [affnet] | CNN with SE blocks | face features regress a guidance factor | adaptive group normalisation of eye features, conditioned on the factor |
| MGazeNet [zhu24] | CNN with SE blocks | face features regress a guidance factor | linear adaptive batch normalisation (LABN) of eye features; SE + LABN fusion block |

[Figure 3: image from the previous manuscript]

Figure 3. System architecture and processing workflow. (A) Layer-level comparison of the four gaze architectures. (B) Gaze estimation workflow, from ROI extraction from the smartphone video through multi-stream feature fusion to supervised training against the EyeLink 1000 ground truth.

Training and evaluation. Models are trained with a mean-squared-error loss on the gaze point in normalised screen coordinates and evaluated by the mean Euclidean distance between predicted and ground-truth gaze, converted to centimetres on the display. To measure generalisation to unseen people rather than memorisation of their appearance, we use participant-wise five-fold cross-validation [kfold]: the data are partitioned by recording rather than by frame, weights are re-initialised for every fold, and the checkpoint with the lowest validation error is kept. Every configuration is trained from five independent initialisations, whose spread gives the noise floor of all utility comparisons. Arms are compared on the uncalibrated model, which isolates the effect of the imagery; for the clinical-usability analysis (§8.4), each model's regression head is additionally fine-tuned per participant on frames from the calibration sequence recorded before the tasks. A face-only model, which receives the face ROI and grid but no eye crops, serves as a null control: it cannot distinguish two releases that differ only in their eye crops.

# 5 De-identification Methods

We test three families of generative de-identification, chosen because they differ in what they edit and how they treat identity. Each operator is run on the original full frame, and the released crops are re-extracted from the processed frame with the stored per-frame geometry, so that crops are pixel-comparable across every arm.

Replacement: SimSwap++. An adapted SimSwap++ [simswappp] transfers the identity of a source template onto the participant's face while preserving the target's geometric attributes — gaze direction, head pose and expression. Its conditional dynamic convolution and morphable knowledge distillation give high-resolution synthesis at low cost (about 2.5 GFLOPs). Each participant is mapped to the same synthetic appearance in every frame. To separate the method from the choice of face, every experiment is run with two source templates of different appearance, Identity A and Identity B (Figure 4). We refer to this family as SimSwap below.

Removal: DeepPrivacy2. DeepPrivacy2 [deepprivacy2] removes identity by inpainting rather than replacing it. Its face mode repaints the detected face box; its full-body mode repaints the whole person, guided by a dense surface map. We run both, each under two identity regimes: a latent code held fixed per participant (fixed), or drawn afresh for every frame (per frame), with truncation 1.0 so that the regimes differ.

Diffusion: FAMS. Face Anonymization Made Simple [fams] conditions a diffusion model on the source face and pastes an aligned square covering face, forehead and some hair back into the frame. We use the authors' anonymisation setting (anonymisation degree 1.25, 25 denoising steps, guidance 4.0), with the noise seed either fixed per participant or drawn afresh per frame. Diffusion runs at about 6 s per frame; the utility experiments use all 210,924 task frames. To see what a stronger setting buys, we also sweep the degree from 1.35 to 3.0 on the privacy sample (§7).

Release protocols. Each family yields two candidate releases (Figure 5). Full Synthetic takes every crop from the de-identified frame. Hybrid combines the de-identified face crop with the participant's original, unaltered eye crops, fused at the data-loading level. Hybrid tests whether the context (the face) can be de-identified while the signal (the eyes) remains genuine. §7 measures what each protocol protects: as shown there, retaining genuine ocular ROIs retains the identifying information they carry, so Hybrid is a utility-preserving protocol rather than a privacy-preserving one, and is not by itself sufficient for public release.

[Figure 4: image from the previous manuscript]

Figure 4. Face replacement with SimSwap++. The face in each target frame is replaced by the source template's facial identity, while the participant's pose, expression and surroundings are preserved. Rows show the effect of two source templates (Identity A and Identity B) on different participants.

[Figure 5: image from the previous manuscript]

Figure 5. The two release protocols. (A) Full Synthetic: every crop is taken from the de-identified frame, replacing the facial identity, ocular region included. (B) Hybrid: the de-identified face crop is combined with the original, unaltered eye crops, which carry the gaze geometry. The streams are fused at the data-loading level, so the model learns to predict gaze from real ocular features within a synthetic facial context.

# 6 Threat Model and Privacy Evaluation

What is released. The shareable artefact is the set of cropped streams the models consume — the face ROI, the left and right eye ROIs, and the face grid — not the source video. All attacks operate on exactly those crops.

Attackers and tests. A1, re-identification from photographs, is the primary threat: the attacker holds ordinary photographs of candidate individuals — for example, people known to belong to the recruitment pool — and asks which of them a released crop shows. A2, linkability, is a property test rather than a separate adversary: whether the released content alone lets frames be grouped by individual, with no external reference. It operationalises two of the three criteria by which the Article 29 Working Party judges anonymisation, singling out and linkability [wp29anon]; data whose records can be isolated per person remain personal data even when no name is attached [gdpr]. A usable gaze corpus keeps each participant's frames together, because participant-wise splits and per-user calibration require it, so a released corpus is linkable by construction; A2 asks whether the content would restore that grouping if the identifiers were stripped. The two tests can disagree by up to 60 points on identical crops (Figure S2).

Recognisers. InsightFace buffalo_l (ArcFace, w600k_r50) throughout, used without any adaptation to this dataset; cosine similarity against per-participant templates. No component is trained on CognitiveGaze. Because a privacy figure should not be one model's opinion, the load-bearing periocular measurements are repeated with FaceNet (Inception-ResNet-v1, VGGFace2, triplet loss) — a different backbone trained on a different corpus with a different objective. Each recogniser is quoted against its own floor: FaceNet's is 3.52%, more than twice ArcFace's 1.57%, so the two are never mixed.

Metrics. True-accept rate at a fixed false-accept rate of 1e-3 (TAR@FAR=1e-3) is primary for A1; closed-set Rank-1 is reported for completeness only, because on single-session data it is inflated by session structure. For A2 we report the adjusted Rand index (ARI) of an unsupervised partition against the true participant labels, together with the number of clusters the procedure selects unaided.

The session-nuisance floor. Each participant was recorded in a single session, so illumination, seating and background are constant within a participant and differ between participants. Any identification metric on such data therefore has a non-zero baseline owing nothing to the face. We measure it by running every attack unchanged on a 120 px face-free patch of the same frames. The floor is Rank-1 50.5% (chance 5.6%), TAR@FAR=1e-3 1.6%, and ARI 0.089 with 2 clusters selected rather than 18. Closed-set Rank-1 is therefore not evidence of de-identification on this kind of data; verification at a strict operating point, and linkage, are.

Alignment. Detection and alignment are taken from the original frame and applied to the de-identified one, so an operator is never credited for defeating the detector — detector failure is not privacy, and it would also break the gaze pipeline. Where an attack instead detects on the released image ("self-aligned") it is labelled as such, and the number of frames surviving detection is reported beside it.

Uncertainty. Frames of one participant are not independent, so every privacy interval is a 95% participant-level cluster bootstrap. Verification intervals hold the operating threshold at its full-data value (the attacker calibrates once) and resample participants' genuine scores (2,000 replicates); re-estimating a 1-in-1,000 impostor quantile inside each resample biases the interval upward, by 10 points on one face ROI. Linkage intervals resample participants, keep a duplicated participant's label, and refit (1,000 replicates).

Tooling. Every attack, floor and interval above is packaged as privaudit, which takes a candidate release in GazeCapture layout and maps each result onto a release checklist. Fed this study's saved embeddings it reproduces all 32 eye-ROI verification and linkage values exactly; re-embedding the crops from scratch, all 46 audited values agree within GPU inference noise (embeddings differ by ~1e-4 between runs; ARI within 0.015, TAR within one probe). Utility differences are paired within participant (n = 17).

# 7 Identity Leakage under De-identification

Table 4 summarises the leakage of each SimSwap release under both attackers; Table 2 gives face-crop re-identification for every family, and Figure 6 linkability.

The ocular region identifies the participant. Before any operator is considered: an unmodified eye ROI, 120 px, given to a pretrained recogniser with no adaptation, verifies identity at 66.6% (left) and 62.2% (right) TAR@FAR=1e-3, against a 1.6% floor. Rank-1 is 91–98%. The eye ROI is not a de-identified crop of the face; per pixel it is the part of the face that identifies best.

A second recogniser agrees, in both threat models. Every measurement above was repeated with FaceNet. Under A1 it gives 69.1% / 81.2% on unmodified ocular ROIs and 0.00–1.48% on synthesised ones, reproducing both halves of the ArcFace result. Under A2 it gives 67.1% / 80.5% unmodified against its own 3.52% floor (19–23× floor, where ArcFace gives 40×), and 42.8% / 55.8% (Identity A) and 34.4% / 51.0% (Identity B) on synthesised ROIs, again far above floor. The agreement is evidence about the imagery rather than about one model's inductive bias.

This is what the Hybrid protocol releases. Hybrid recovers gaze accuracy by retaining the original, unaltered eye ROIs — the crops measured above. On the identity axis it therefore inherits the leakage of unprocessed data: 62–67% TAR@FAR=1e-3, roughly forty times the floor, before the synthetic face is considered at all. The mechanism that recovers the utility is the mechanism that leaks the identity.

Full synthesis removes the correspondence for the eye crops, not for the face crop. With the ocular region synthesised as well, the same attack on the eye ROIs falls to 0.2% / 1.8% TAR@FAR=1e-3, at or below the floor (FaceNet: 0.00% / 1.48%); the two templates agree, and so do the two recognisers. The synthetic face crop does not fall that far. Matched against the participant's own photographs it still verifies at 18.4% [5.1, 35.4] for Identity A and 22.0% [6.8, 40.7] for Identity B under ArcFace (Table 2), against 100% for unprocessed faces and a 1.6% floor.

The face-ROI intervals are wide because the sampling unit is 18 participants. For Identity A the direction is secure: the lower bound is three times the floor, and FaceNet agrees (14.4% against its own 3.52% floor). For Identity B FaceNet does not confirm it (0.2%), so the residual depends on the template and the recogniser. These data support "above floor, an order of magnitude below unprotected imagery" for the face crop, and not a finer grading than that. The release decisions in the Data Availability statement rest on the direction, not on the point estimate.

But the release stays linkable. Under A2, an unsupervised partition of the released corpus recovers the participants exactly: ARI 1.000 at the correct k = 18, for both templates, against a floor of 0.089 at k = 2. Identity replacement is per-participant consistent — each participant is mapped to the same synthetic appearance every time — which destroys the correspondence to their real face while leaving the released set internally self-consistent. The same eye ROIs that score 0.2% against A1 score 42.8% / 62.5% against A2.

The linkage is not an artefact of surrounding context. A face ROI retains channels the synthesis never edits — hair at the crop border, spectacles, skin tone, head pose, face outline — and the floor does not control for them, because it is a patch of the room whereas those are attributes of the person. We therefore repeat the linkage attack on the 120 px eye ROI, which excludes hair, ears, neck, clothing and the face outline, and whose pixels are themselves synthetic in the Full Synthetic arm. Linkage survives: ARI 0.68–0.79 at k = 18 for the two synthetic identities, against 0.84–0.85 for unmodified eye ROIs and a floor of 0.089, with 79–86% of frames assigned to the correct participant. The subject-level 95% intervals of the synthetic and unmodified arms overlap substantially (e.g. [0.59, 0.86] against [0.70, 0.96] on the left eye), so replacement cannot be said to reduce eye-ROI linkage at all; clustering variability across twenty KMeans initialisations is small (SD 0.015–0.037), so single-fit point estimates are representative.

Nor is it an illumination artefact. Single-session recording leaves the imaging conditions — exposure, white balance, focus distance, the angle of the light on the cornea — constant within a participant, and the face-free floor does not control for them because they are properties of the imaging of the person rather than of the room. We therefore attack that channel directly. Removing per-crop brightness and contrast entirely leaves the linkage intact (ARI 0.684 → 0.742 on the swapped left eye; verification 62.2% → 73.0% on the right), local histogram equalisation costs 0.05–0.14 without collapsing it, and a large within-session illumination change — gallery from the dark-screen stimulus blocks, probe from the natural-image blocks — leaves it intact and raises it to 0.918 / 0.931 on unmodified crops. The recogniser's linkage therefore does not depend on photometry: with brightness, contrast and colour cast removed, it still separates the participants.

Photometry also links on its own, as a separate channel. The converse holds as well: photometry does not need the recogniser. Twenty-one summary statistics per crop — per-channel means, percentiles, white-balance ratios, dynamic range, no structure at all — recover the participants at ARI 0.87–0.90 with no face model whatsoever, and identity replacement does not touch this channel: 0.898 / 0.901 on swapped crops against 0.870 / 0.902 on originals. On single-session data this channel mixes the person with the recording (§11). The two channels are independent, so closing one leaves the other: normalising crop photometry removes this channel but not the recogniser's, and a release that does not normalise it is linkable without any recogniser at all.

A second family, and its strongest mode. DeepPrivacy2 removes identity by inpainting rather than replacing it. Its face mode repaints the detected face box and touches 40% more of the crop than SimSwap; its full-body mode — the main contribution of the DeepPrivacy2 paper, motivated by exactly our concern that face anonymisation leaves identifiers outside the face [deepprivacy2] — repaints the whole person, face included. Crossing edit domain with identity regime gives the two-part condition as a factorial result, on the face crop, for both release-only attacks (linkage: ARI at k = 18, floor 0.089; verification: TAR at FAR 1e-3 with 95% subject-level interval, floor 1.6%; Figure 6a). Face-crop linkage is 1.000 with face-mode editing and a fixed identity, 0.982 when either the edit domain is widened to the whole person or the identity is resampled every frame, and 0.297 only when both are; verification falls from 89.7–100% in the first three cells to 35.7% [27, 45] in the fourth.

Widening the edit domain alone changes nothing, and neither does resampling the identity alone; only both together break the partition, and then an attacker who must discover the cohort size finds none (silhouette selects k = 2, ARI 0.000; pair AUC 0.78). The full-body generator works at 288×160, so its faces are visibly low-resolution — but the fixed-identity full-body arm carries the same degradation and still links at 0.982, so the collapse is due to the identity regime, not to image quality. Both residuals are well above floor: what the whole-person generator leaves untouched — background, pose, crop geometry, illumination — still carries part of the partition, and enough identity for an attacker with templates to verify a third of the frames. The condition blocks discovery of who is who; it does not stop verification by someone who already holds a few labelled frames. Against A1 every DeepPrivacy2 arm is at or below floor, on the eye crops (≤ 1.2%) and on the face crop (≤ 1.6%; Table 2), consistent with DeepPrivacy2's own re-identification evaluation, which, like A1, matches enrolment images to the release and does not test release-only linkage.

A diffusion method meets the condition's first half by itself, and fails on the second. Face Anonymization Made Simple [fams] conditions a diffusion model on the source face and pastes an FFHQ-aligned square — face, forehead, some hair — back into the frame. Holding its noise seed fixed per participant does not hold the synthetic person fixed: the output identity follows the source frame, and the fixed-seed and fresh-seed regimes are indistinguishable on every measure. It therefore breaks per-participant consistency by construction, and eye-ROI linkage roughly halves — verification 5–8% against 43–63% for SimSwap, ARI 0.29–0.33 [lower bounds 0.19–0.26] against 0.68–0.80 — though every interval stays above the eye-native floor (0.074). The face crop, whose border, head pose and geometry the aligned square leaves alone, stays linkable at ARI 0.85–0.94. The two-part condition was derived from SimSwap and DeepPrivacy2; this is its prediction holding on a family it was not derived from.

The diffusion face still resembles the participant. Matched against the participant's own photographs, the FAMS face crop verifies at 24.1% [15.3, 33.6] under ArcFace — no lower than SimSwap — although FaceNet places it near its own floor (5.9% [2.2, 10.5] against 3.52%; Table 2). FAMS conditions on the source face to keep pose and expression, and part of the identity comes with them. Closed-set Rank-1 is high for both families (57–61%) but is not evidence here: on single-session data its floor is 50.5%.

Table 2. Face-crop A1 for every family: released face crops (second half of each recording) matched against the participant's original face crops (first half). TAR at FAR = 1e-3 with 95% participant-level intervals, each recogniser against its own floor (ArcFace 1.6%, FaceNet 3.52%).

| Release | ArcFace TAR | FaceNet TAR |
| --- | --- | --- |
| SimSwap, Identity A | 18.4% [5.1, 35.4] | 14.4% [0.7, 30.5] |
| SimSwap, Identity B | 22.0% [6.8, 40.7] | 0.2% [0.0, 0.6] |
| DeepPrivacy2 face, fixed | 1.6% [0.0, 4.6] | 0.7% [0.0, 1.6] |
| DeepPrivacy2 face, per frame | 1.4% [0.5, 2.5] | 2.8% [0.8, 5.5] |
| DeepPrivacy2 full body, fixed | 0.0% [0.0, 0.0] | 0.0% [0.0, 0.0] |
| DeepPrivacy2 full body, per frame | 0.3% [0.0, 0.7] | 0.6% [0.0, 1.4] |
| FAMS, fixed seed | 22.4% [14.3, 31.9] | 3.2% [1.6, 5.1] |
| FAMS, per frame | 24.1% [15.3, 33.6] | 5.9% [2.2, 10.5] |

Strength trades pupil signal for identity, not for linkability. The FAMS anonymisation degree extrapolates the generator away from the source identity. Raising it from the authors' 1.25 to 1.5 — the strongest setting that still yields a face in more than 90% of frames; beyond it the generator degrades rather than anonymises, with 19–94% of crops containing no detectable face — lowers ArcFace face verification from 24.1% to 10.1% [3.0, 19.3], still above the floor (FaceNet reaches its floor from 1.35). It leaves face-crop linkage where it was (ARI 0.81–0.90) and costs pupil signal: the within-participant correlation between the synthetic pupil and true horizontal gaze falls from 0.68 to 0.53 (Table 3; SimSwap 0.79, unprocessed 0.87). Each step that lowers re-identification removes gaze information; none removes linkability.

Table 3. FAMS anonymisation-strength sweep on the privacy sample (per-frame noise). Settings producing more than 10% non-face outputs are shown but not used for privacy conclusions. Pupil r: within-participant correlation of the synthetic pupil's horizontal position with EyeLink gaze (§8.1).

| Degree | Non-face outputs | Face TAR, ArcFace | Face TAR, FaceNet | Face linkage ARI | Eye linkage ARI | Pupil r |
| --- | --- | --- | --- | --- | --- | --- |
| 1.25 (authors) | 0.0% | 24.1% [15.3, 33.6] | 5.9% | 0.853 | 0.292 | 0.68 |
| 1.35 | 0.1% | 14.1% [5.9, 23.5] | 2.6% | 0.810 | 0.305 | 0.62 |
| 1.5 | 6.5% | 10.1% [3.0, 19.3] | 2.2% | 0.899 | 0.283 | 0.53 |
| 1.6 | 18.7% | 5.9% [0.9, 12.0] | 1.7% | 0.792 | 0.302 | 0.41 |
| 1.75 | 36.0% | 3.7% [0.3, 9.4] | 1.9% | 0.784 | 0.259 | 0.23 |
| 2.0 | 93.9% | — | — | — | — | — |

The residual channels the recogniser does exploit — skin tone, periocular geometry, crop scale — are signals gaze estimation reads, which is why the axis trades at all.

These eye-ROI figures assume an attacker who knows the cohort size: on the eye ROI the cluster count is not recovered unaided, whereas on the face ROI it is (k = 18 selected by silhouette). For a public release the cohort size is stated in the documentation, so the assumption is mild, but it is an assumption and the face ROI does not need it. Breaking unsupervised discoverability is in fact the one place replacement helps: on the right eye, k selected falls from 26 (ARI 0.674) to 2 (ARI 0.011). It breaks discovery of the partition, not its separability.

The floor is eye-crop native. Running the periocular pipeline itself on a 120 px face-free patch of the same frames — identical frame selection, identical downstream steps, only the pixels differ — gives TAR@FAR=1e-3 = 1.57%, Rank-1 50.6%, d′ 0.458, agreeing with the face-crop floor to three significant figures; its linkage floor is ARI 0.074, against 0.089 for the face pipeline. Eye-ROI linkage is quoted against the former.

The open tier leaks too, by two orders of magnitude less. Our release plan puts per-frame gaze estimates and oculomotor measures in an open tier because it contains no imagery and no face embeddings. Since eye movement is itself a biometric, we tested that rather than asserting it. Treating the released gaze series as the attacker's only input, we cut each recording into 5 s fragments (150 frames), described each with fifteen dispersion, velocity and saccade/fixation statistics, and clustered. The result is ARI 0.033 at the correct k, purity 0.157 against a chance purity of 0.059, versus a label-permutation null of −0.0001 (max 0.0015 over 20 permutations). The signal is real but small — two orders of magnitude below the pixel tiers (0.68–1.000). We report the open tier as low, not zero, residual risk.

Metadata leaks before a pixel is read. Released crop dimensions are constant per participant. Face ROI size alone yields an expected Rank-1 of 50.0%; face size, eye size and inter-ocular distance together yield 94.4% (4.06 of 4.17 bits) without reading any pixels. A release must normalise crop geometry; ours does, and all figures above are pixel-based.

An adaptive attacker gains little. An attacker who knows the operator and holds paired (original, synthesised) imagery of other participants can fit a de-anonymisation map and apply it to a participant they could not train on. Across mean-shift, orthogonal Procrustes and ridge maps, fitted leave-one-participant-out, the best gain is +3.3 points on the face ROI (19.9% → 23.2%) and nothing on the eye ROIs. The same maps reach Rank-1 100% when fitted including the target — they memorise identities rather than invert the operator. The protection is a generalisation barrier, not an information-theoretic one.

Table 4. Identity leakage across release strategies. A1: the attacker holds enrolment photographs; A2: the attacker holds only the release. TAR at FAR = 1e-3 (ArcFace) and ARI at k = 18, with 95% participant-level bootstrap intervals.

| Released stream | Real Data | Full Synthetic (A) | Full Synthetic (B) | Hybrid (Real Eyes) |
| --- | --- | --- | --- | --- |
| Face ROI, TAR (A1) | 100% | 18.4% [5.1, 35.4] | 22.0% [6.8, 40.7] | 18.4% (face is synthetic) |
| Left eye ROI, TAR (A1) | 66.6% [53.1, 78.7] | 0.2% [0.0, 0.5] | 0.6% [0.0, 1.6] | 66.6% (unaltered) |
| Right eye ROI, TAR (A1) | 62.2% [49.7, 73.3] | 1.8% [0.1, 4.4] | 1.1% [0.0, 2.8] | 62.2% (unaltered) |
| Session-nuisance floor | 1.6% | 1.6% | 1.6% | 1.6% |
| Face ROI, ARI @ k=18 (A2) | 1.000 | 1.000 | 1.000 | 1.000 |
| Left eye ROI, ARI @ k=18 (A2) | 0.844 [0.70, 0.96] | 0.684 [0.59, 0.86] | 0.737 [0.60, 0.88] | 0.844 (unaltered) |
| Right eye ROI, ARI @ k=18 (A2) | 0.853 [0.73, 0.96] | 0.789 [0.64, 0.92] | 0.761 [0.62, 0.95] | 0.853 (unaltered) |
| Linkage floor | 0.089 | 0.089 | 0.089 | 0.089 |

Figure 6. Release-only linkage. (a) Face crop, DeepPrivacy2, crossing edit domain (face box vs whole person) with identity regime (fixed per participant vs fresh per frame): linkage (ARI at k = 18) and verification (TAR at FAR 1e-3, 95% subject-level interval). Only the cell that meets both halves of the condition falls (ARI 0.297), and verification there is still 36%. Unprocessed and SimSwap face crops are at 1.000; FAMS at 0.939 / 0.853. (b) Eye-ROI linkage for every arm, with 95% subject-level bootstrap intervals; dashed: the eye-native floor (0.074). SimSwap and DeepPrivacy2 with a fixed identity per participant overlap unprocessed eyes. A fresh DeepPrivacy2 identity per frame brings the eye ROI close to the floor (0.12–0.17), and FAMS sits between (0.29–0.33) under either seed regime, because a fixed seed does not fix its output identity. Eye-ROI linkage assumes the attacker knows the cohort size (k = 18).

# 8 Gaze Utility under De-identification

## 8.1 Utility protocol

Three conditions. A utility number answers a question only once it says who trained the model on what. We report three. In condition (ii), models trained on real data are deployed on de-identified crops: the cost to a pipeline that receives de-identified input. In condition (i), models are retrained on the de-identified release, with the same recipe, participant partition and hyperparameters as the real-data models, and tested either on real faces — a third party training on the released corpus and deploying the model on its own users — or on de-identified faces — benchmarking on the release itself. Condition (ii) is the only one that can separate information loss from domain shift when read alongside (i): a penalty that retraining removes was shift; one that survives retraining was information.

Two references bound every number. The initialisation noise floor is the spread of the real-data model over five independent initialisations, 0.04–0.20 cm. The no-information reference is the error of predicting the training participants' mean gaze point for every frame: 9.37 cm, a penalty of +3.70 to +4.41 cm depending on the backbone's own baseline. A model at that level has learned no gaze.

A model-free check on the pupil. End-to-end error mixes the information a release carries with how well a model trained on it transfers. We therefore also measure the pupil directly. FaceMesh [facemesh] locates both iris centres on the released face crop and on the original crop of the same frame, each expressed in its eye's own corner-to-corner frame, which removes head pose and crop placement. We report the within-participant correlation of the released pupil position with the original one and with the EyeLink gaze coordinate, on 4,680 frames identical across all releases.

## 8.2 Models trained on real data (condition (ii))

Table 5 reports SimSwap under condition (ii); Table 6 reports DeepPrivacy2 and FAMS under the same models, initialisations and harness. Before any DeepPrivacy2 or FAMS number was computed, the real-data arm was re-run through the same pipeline and reproduced Table 5 to within 0.0012 cm on all 100 folds.

Table 5. Gaze error (cm) under condition (ii) for SimSwap: trained on real data, deployed on de-identified crops. Mean over five folds, then mean ± SD over five independent initialisations; in parentheses, the change against the same model's real-data baseline. The SD is the noise floor of the comparison (0.04–0.20 cm on the baseline): no difference smaller than it can be supported in either direction.

| Model | Real Data | Full Synthetic (A) | Hybrid (A) | Full Synthetic (B) | Hybrid (B) |
| --- | --- | --- | --- | --- | --- |
| iTracker | 5.85 ± 0.14 | 8.85 ± 0.17 (+3.00) | 6.16 ± 0.20 (+0.31) | 9.48 ± 0.21 (+3.62) | 5.82 ± 0.20 (−0.03) |
| MobileNet-V3 Large | 4.98 ± 0.13 | 8.65 ± 0.18 (+3.66) | 5.17 ± 0.16 (+0.18) | 12.03 ± 0.53 (+7.04) | 6.03 ± 0.25 (+1.04) |
| AFFNet | 5.67 ± 0.20 | 8.07 ± 0.25 (+2.41) | 5.85 ± 0.24 (+0.19) | 9.64 ± 0.53 (+3.98) | 5.74 ± 0.25 (+0.08) |
| MGazeNet | 4.96 ± 0.04 | 7.74 ± 0.20 (+2.78) | 5.21 ± 0.21 (+0.24) | 9.72 ± 0.40 (+4.75) | 5.45 ± 0.25 (+0.48) |

Table 6. Condition (ii) for DeepPrivacy2 (face and full-body modes, fixed and per-frame identity) and FAMS (fresh noise per frame, all 210,924 task frames). Mean ± SD over five initialisations; in parentheses, or as listed for FAMS, the change against the real-data baseline in Table 5.

(a) DeepPrivacy2, face mode

| Model | Full Synthetic (fixed) | Hybrid (fixed) | Full Synthetic (per frame) | Hybrid (per frame) |
| --- | --- | --- | --- | --- |
| iTracker | 16.44 ± 0.24 (+10.58) | 5.75 ± 0.11 (−0.10) | 17.50 ± 0.25 (+11.65) | 5.83 ± 0.06 (−0.02) |
| MobileNet-V3 Large | 15.88 ± 0.37 (+10.90) | 6.02 ± 0.54 (+1.03) | 16.24 ± 0.23 (+11.25) | 5.95 ± 0.45 (+0.97) |
| AFFNet | 19.33 ± 0.26 (+13.66) | 5.74 ± 0.24 (+0.07) | 20.52 ± 0.22 (+14.85) | 5.68 ± 0.22 (+0.01) |
| MGazeNet | 17.06 ± 0.39 (+12.09) | 5.43 ± 0.38 (+0.47) | 17.04 ± 0.53 (+12.08) | 5.37 ± 0.32 (+0.40) |

(b) DeepPrivacy2, full-body mode

| Model | Full Synthetic (fixed) | Hybrid (fixed) | Full Synthetic (per frame) | Hybrid (per frame) |
| --- | --- | --- | --- | --- |
| iTracker | 15.92 ± 0.29 (+10.06) | 6.01 ± 0.11 (+0.16) | 17.12 ± 0.35 (+11.27) | 5.96 ± 0.10 (+0.11) |
| MobileNet-V3 Large | 14.63 ± 0.81 (+9.65) | 5.60 ± 0.48 (+0.61) | 14.65 ± 0.76 (+9.67) | 5.61 ± 0.45 (+0.63) |
| AFFNet | 17.72 ± 0.42 (+12.05) | 5.78 ± 0.23 (+0.11) | 17.82 ± 0.47 (+12.16) | 5.80 ± 0.23 (+0.13) |
| MGazeNet | 15.28 ± 0.29 (+10.31) | 5.22 ± 0.20 (+0.26) | 15.59 ± 0.19 (+10.63) | 5.35 ± 0.20 (+0.39) |

(c) FAMS

| Model | Real Data | Full Synthetic | Hybrid |
| --- | --- | --- | --- |
| iTracker | 5.85 ± 0.14 | +5.06 ± 0.17 | +0.02 ± 0.07 |
| MobileNet-V3 Large | 4.98 ± 0.13 | +4.06 ± 0.24 | +0.27 ± 0.20 |
| AFFNet | 5.67 ± 0.20 | +4.91 ± 0.20 | +0.19 ± 0.10 |
| MGazeNet | 4.96 ± 0.04 | +4.94 ± 0.17 | +0.35 ± 0.21 |

Deployed on DeepPrivacy2 crops, real-data models are worse than predicting the mean: 15.9–20.5 cm in face mode and 14.6–17.8 cm in full-body mode, against 9.37 cm. A model given repainted eyes is confidently wrong. Hybrid recovers 91–101% of the face-mode penalty and 93–99% of the full-body one, as it does for SimSwap. Every one of the 421,848 full-body frames had the participant detected and repainted. In 2,861 of them (1.4%) the detector also returned a second person region without a surface map, which the pipeline leaves unedited; the participant's released crops in those frames are changed as much as in all others, so no original pixels reach the release. Under deployment alone FAMS looks worse than SimSwap (+4.1 to +5.1 cm, against +2.4 to +3.7 cm for SimSwap A), and Hybrid recovers 93–100% of its penalty. Section 8.3 shows that most of the DeepPrivacy2 and FAMS penalty under condition (ii) is domain shift.

Table 7. Hybrid minus Full Synthetic (cm), paired within initialisation, mean ± SD over five draws; negative means the genuine ocular crops recover accuracy. All 40 draw-level values are negative, and the across-draw SD is an order of magnitude below the effect in every cell.

| Model | Identity A | Identity B | Penalty recovered |
| --- | --- | --- | --- |
| iTracker | −2.693 ± 0.097 | −3.656 ± 0.320 | 90% / 101% |
| MobileNet-V3 Large | −3.481 ± 0.274 | −5.999 ± 0.655 | 95% / 85% |
| AFFNet | −2.221 ± 0.236 | −3.897 ± 0.428 | 92% / 98% |
| MGazeNet | −2.535 ± 0.119 | −4.273 ± 0.389 | 91% / 90% |
| Face-only control | +0.000 ± 0.000 | +0.000 ± 0.001 | 0% |

Restoring the genuine ocular ROIs recovers most of the synthesis penalty in every architecture tested. Full synthesis costs +2.41 to +7.04 cm depending on model and template; Hybrid recovers 85–101% of that, leaving a residual of +0.08 to +1.04 cm. Across five independent initialisations the paired difference is negative in all four architectures, both templates and every draw, with a between-draw spread an order of magnitude smaller than the effect.

The residual is small but mostly real: tested against each model's own baseline, six of the eight Hybrid arms are detectably worse than real data and two are indistinguishable from it. We therefore describe Hybrid as recovering the synthesis penalty rather than preserving accuracy — a distinction the measured initialisation noise floor (0.04–0.20 cm) is fine enough to make.

The face-only control consumes the face ROI only and therefore cannot see the eye crops; its two arms must be identical, and they are, to three decimals. It establishes that the comparison distinguishes the arms when a model uses the ocular stream and reports exactly zero when it does not, which is what licenses reading every other row as a real effect.

We find no evidence of an architecture that fails to exploit the restored ocular signal. In particular the two guidance-factor architectures, whose eye features are modulated by parameters regressed from the face, do not behave differently from the late-fusion ones: AFFNet recovers 92% and 98% of the penalty. What distinguishes the Hybrid protocol is not fusion topology but whether the model reads the eye crops at all, as the face-only control makes explicit.

Changing the source template from Identity A to Identity B changes the Full Synthetic error by +0.63 to +3.38 cm, but the Hybrid error by only −0.34 to +0.86 cm, and Hybrid recovers most of the penalty under both templates (Table 7). The synthesis penalty depends strongly on the template; the Hybrid error changes much less.

## 8.3 Models retrained on the release (condition (i))

Table 8. Penalty (cm) against each model's own real-data baseline, under the three conditions: mean over MobileNet-V3 Large, AFFNet and MGazeNet, with [min, max] across the three. Condition (i) is the mean over five independent initialisations per cell (per-draw SDs 0.01–0.83 cm), against the five-draw real-data mean; condition (ii) is recomputed over the same three architectures so the columns are comparable. Retraining uses the same recipe and participant partition as the real-data models. iTracker (about 9 h per fold) is reported separately in Table 12. Negative Hybrid values read as indistinguishable from baseline, not as gains.

| Arm | (ii) train real, test de-id | (i) train de-id, test real | (i) train de-id, test de-id |
| --- | --- | --- | --- |
| SimSwap A, Full Synthetic | +2.95 [+2.41, +3.66] | +3.83 [+2.47, +4.56] | +2.76 [+2.50, +3.06] |
| SimSwap A, Hybrid | +0.20 [+0.18, +0.24] | +0.09 [+0.01, +0.23] | −0.04 [−0.14, +0.04] |
| SimSwap B, Full Synthetic | +5.26 [+3.98, +7.04] | +4.81 [+3.16, +6.21] | +2.54 [+2.17, +3.02] |
| SimSwap B, Hybrid | +0.53 [+0.08, +1.04] | +0.04 [−0.10, +0.14] | −0.08 [−0.19, +0.04] |
| DeepPrivacy2 fixed, Full Synthetic | +12.22 [+10.90, +13.66] | +4.51 [+3.94, +4.81] | +4.50 [+3.93, +4.81] |
| DeepPrivacy2 fixed, Hybrid | +0.52 [+0.07, +1.03] | −0.08 [−0.14, −0.02] | −0.12 [−0.17, −0.09] |
| DeepPrivacy2 per frame, Full Synthetic | +12.73 [+11.25, +14.85] | +4.40 [+3.79, +4.77] | +4.34 [+3.79, +4.68] |
| DeepPrivacy2 per frame, Hybrid | +0.46 [+0.01, +0.97] | +0.02 [−0.09, +0.10] | +0.02 [−0.10, +0.08] |
| DeepPrivacy2 full body fixed, Full Synthetic | +10.67 [+9.65, +12.05] | +4.72 [+4.03, +5.21] | +4.70 [+4.25, +5.02] |
| DeepPrivacy2 full body fixed, Hybrid | +0.33 [+0.11, +0.61] | +0.01 [−0.08, +0.15] | −0.02 [−0.14, +0.10] |
| DeepPrivacy2 full body per frame, Full Synthetic | +10.82 [+9.67, +12.16] | +4.34 [+3.91, +4.58] | +4.34 [+3.91, +4.59] |
| DeepPrivacy2 full body per frame, Hybrid | +0.38 [+0.13, +0.63] | −0.05 [−0.15, +0.05] | −0.05 [−0.14, +0.05] |
| FAMS (diffusion), Full Synthetic | +4.64 [+4.06, +4.94] | +0.94 [+0.39, +1.29] | +2.15 [+1.56, +2.57] |
| FAMS (diffusion), Hybrid | +0.27 [+0.19, +0.35] | −0.01 [−0.13, +0.07] | −0.02 [−0.14, +0.06] |
| No-information reference (predict the mean) | +4.17 [+3.70, +4.41] |  |  |

FAMS was retrained on every task frame with the same five initialisations as every other arm. On a 10% frame subset, against a real-data model retrained on the same subset, the FAMS penalty on real faces was +0.32 cm, against +3.26 cm for SimSwap A and +3.46 cm for DeepPrivacy2 retrained on exactly those frames. The subset understated the FAMS penalty (+0.94 cm on all frames) but not its ranking: FAMS is better than SimSwap A and DeepPrivacy2 in all 15 paired draws (architecture × initialisation), on the subset and again on all frames.

Retraining does not rescue full synthesis. For SimSwap, the penalty survives retraining: +2.2 to +3.1 cm when the retrained model is tested on the release, and +2.5 to +6.2 cm when it is deployed on real faces — where two of the three architectures end up at or beyond the no-information reference. The synthesis penalty in Table 5 is therefore mostly lost information, not domain shift: a model cannot learn from synthetic eyes what synthetic eyes do not carry. A Full Synthetic release is of little use to a third party who wants a gaze model for real users.

Removal by inpainting leaves no gaze signal at all. For DeepPrivacy2 the picture is the reverse. More than half of the condition (ii) penalty is domain shift — retraining removes 56–65% of it — but what remains is the no-information level, in face mode and in full-body mode alike. Across five initialisations, both modes, both identity regimes and both test sets, 580 of 600 fold-level errors are at or above predicting the mean, and none is more than 0.17 cm below it; 232 of the 300 training runs reach their best validation error at the first epoch and learn nothing thereafter, and per-participant calibration does not help. The repainted eyes carry no recoverable gaze information. This replaces the qualitative observation that the generator "alters gaze direction" with a measurement.

Hybrid recovers the penalty in every condition. Restoring the genuine ocular ROIs recovers 91–103% of the penalty when the retrained model is deployed on real faces and 98–106% on the release, for both families, both DeepPrivacy2 modes and both identity regimes; every Hybrid cell in condition (i) lies between −0.19 and +0.23 cm of baseline, inside the initialisation noise floor or at its edge. FAMS falls in the same band (−0.14 to +0.07 cm); its percentages (82–111% and 96–106%) are noisier because its Full Synthetic penalty on real faces is small, +0.39 cm for AFFNet. The central utility finding of Table 7 therefore does not depend on how the model was trained.

A diffusion anonymiser transfers better; it does not keep more gaze. FAMS looks, under condition (ii), like the others: +4.1 to +5.1 cm. Retrained on its release and deployed on real faces, models lose only +0.94 cm on average — +1.15 ± 0.03 (MobileNet-V3), +0.39 ± 0.21 (AFFNet), +1.29 ± 0.06 (MGazeNet) — against +3.83 for SimSwap A and +4.51 for DeepPrivacy2, and FAMS is better than both in every one of 15 paired draws. Two measurements show that this is not because its eyes carry more gaze. The model-free pupil test (Table 9) finds the opposite: SimSwap's synthetic pupils follow the participant's true horizontal gaze more closely than FAMS's in all 17 participants with ground truth (r = 0.79–0.83 against 0.68–0.69; unprocessed 0.87). And models that see only the eye crops (Table 10) reproduce the advantage on real faces — +0.96 to +1.16 cm for FAMS against +2.71 to +6.77 for SimSwap — but not inside the release, where the two are comparable (+2.04 to +2.72 against +1.98 to +2.95, each method better for one eyes-only architecture in every draw). The difference is transfer: models trained on SimSwap eyes fail on real eyes, models trained on FAMS eyes do not. A plausible reading, which we did not test, is diversity: SimSwap maps every participant onto one template's eyes, whereas FAMS draws a new identity every frame. Tested on its own release, a FAMS-trained model is less accurate than on real faces (+1.56 to +2.57 cm), the reverse of SimSwap. FAMS is therefore the more useful release for training models deployed on real users, for reasons that have nothing to do with keeping more of the pupil; on the privacy axis it breaks per-participant consistency without being asked to, yet its face crop still verifies against the participant's photographs and stays linkable (§7).

Table 9. Pupil-position preservation, model-free (§8.1): within-participant correlation of the released pupil position with the original one (horizontal, vertical) and with EyeLink gaze, mean over participants; 4,680 identical frames.

| Release | r with original, horizontal | r with original, vertical | r with gaze x | r with gaze y |
| --- | --- | --- | --- | --- |
| Unprocessed | 1 | 1 | 0.87 | 0.56 |
| SimSwap, Identity A | 0.70 | 0.44 | 0.79 | 0.29 |
| SimSwap, Identity B | 0.70 | 0.44 | 0.83 | 0.28 |
| FAMS | 0.61 | 0.35 | 0.69 | 0.21 |
| DeepPrivacy2 (face and full body) | ≈ 0 | ≈ 0 | 0.06 | 0.05–0.07 |

Table 10. Stream isolation: eyes-only and face-only models retrained on each release, five initialisations; penalty (cm, mean ± SD) against the same model trained on real data, paired within initialisation.

| Model (real-data error) | Tested on real faces: SimSwap A / B / FAMS | Tested on the release: SimSwap A / B / FAMS |
| --- | --- | --- |
| Eyes-only MobileNet-V3 (4.95) | +2.71 ± 0.93 / +3.56 ± 0.39 / +1.16 ± 0.10 | +2.44 ± 0.36 / +1.98 ± 0.22 / +2.72 ± 0.21 |
| Eyes-only MGazeNet (5.14) | +4.79 ± 0.94 / +6.77 ± 0.56 / +0.96 ± 0.27 | +2.83 ± 0.38 / +2.95 ± 0.12 / +2.04 ± 0.17 |
| Face-only MobileViT (5.29) | +4.51 ± 0.40 / +3.87 ± 0.59 / +1.44 ± 0.26 | +3.67 ± 0.16 / +2.98 ± 0.33 / +2.24 ± 0.29 |

Releasing eye geometry instead of pixels does not escape the trade-off. The obvious alternative to de-identified imagery is to release no imagery: FaceMesh landmarks, from which gaze could in principle be regressed. We tested three tiers, each a superset of the last, on 1,200 frames per participant spread over the recording, with the same participant split and the same attacks as the pixel releases (verification TAR at FAR 1e-3; linkage ARI at k = 18; floors 1.6% and 0.074):

Table 11. Releasing FaceMesh eye geometry instead of pixels: gaze error of gradient-boosted regressors (no per-participant calibration) and release-only privacy of the released features, with 95% participant-level intervals.

| Released per frame | Dims | Gaze error, uncalibrated | Verification | Linkage, frame | Linkage, 10-frame window |
| --- | --- | --- | --- | --- | --- |
| Iris position in each eye's corner frame | 4 | 9.02 cm | 10.2% [5.7, 15.2] | 0.267 [0.22, 0.48] | 0.441 [0.35, 0.68] |
| + face-box position and size | 7 | 9.27 cm | 62.2% [50.9, 72.2] | 0.665 [0.54, 0.84] | 0.843 [0.71, 0.98] |
| + both eyelid contours | 71 | 8.31 cm | 74.3% [64.0, 82.4] | 0.761 [0.63, 0.89] | 0.914 [0.79, 0.99] |

Predicting the mean scores 9.53 cm on these frames; the pixel models score 5.0–5.9 cm. Four iris coordinates per frame carry almost no gaze signal across participants at smartphone resolution — the iris moves a dozen pixels across the whole screen — yet still link the release well above floor, more so once an attacker pools neighbouring frames. Head position and eyelid shape are what make the geometry useful, and they are constant within a session and biometric respectively, so they make it linkable. Per-participant calibration lifts an iris mapping to about 5.2 cm on these data, but that requires every end user to enrol, which a released training corpus cannot assume.

The identity regime costs nothing; the edit domain costs everything. Once models are trained on the release, resampling the synthetic identity every frame changes utility by −0.63 to +0.19 cm against a fixed identity, across both DeepPrivacy2 modes, both arms and both test sets — never worse by more than 0.19 cm. In condition (ii) the Full Synthetic arm moves by up to 1.2 cm, but there both regimes are already worse than predicting the mean. What destroys utility is repainting the eyes — and repainting everything the crop contains, eyes included, is what §7 found necessary to break face-crop linkage.

Figure 7 places every protocol on one plane, utility against release-only linkage; Figure S1 shows the per-architecture penalties under all three conditions.

Figure 7. Privacy against utility for every protocol tested. Horizontal: gaze-error penalty of a model retrained on the release and deployed on real faces (mean of three architectures). Vertical: release-only linkage, the ARI at k = 18 of the most linkable crop the release contains (face or eye ROI). Circles: Full Synthetic; squares: Hybrid (original eyes); star: unprocessed data. Dashed red: no-information reference (predicting the mean gaze point); dashed grey: linkage floor. The shaded corner — private and useful — contains no protocol. Hybrid sits at the utility of real data and the linkage of real data; SimSwap and DeepPrivacy2 Full Synthetic lose most of the gaze signal and none of the linkage. The single point that leaves the top row (DeepPrivacy2 full body with a fresh identity per frame, ARI 0.297) is one on which a retrained gaze model learns nothing (+4.34 cm, at the no-information reference). Restoring the original eyes to it (square 13) recovers the utility and, with it, the linkage (0.849). The diffusion anonymiser (circle 14) is the one full-synthesis release near the utility of real data (+0.94 cm, against +3.83 for SimSwap A and +4.51 for DeepPrivacy2) — because models trained on it transfer to real eyes, not because its pupils carry more gaze (§8.3) — and its face crop keeps it in the linkable region (0.853). Diamonds: releasing FaceMesh eye geometry instead of pixels — the least linkable tier (four iris coordinates, ARI 0.267) is also near the no-information level.

Table 12. iTracker under the three conditions, one initialisation in condition (i). Penalty (cm) against its five-draw real-data baseline of 5.85 cm; predicting the mean corresponds to +3.52 cm.

| Arm | (ii) | (i) test real | (i) test de-id |
| --- | --- | --- | --- |
| SimSwap A, Full Synthetic / Hybrid | +3.00 / +0.31 | +7.50 / −0.10 | +3.01 / +0.00 |
| SimSwap B, Full Synthetic / Hybrid | +3.62 / −0.03 | +12.05 / +0.62 | +4.38 / +0.43 |
| DeepPrivacy2 fixed, Full Synthetic / Hybrid | +10.58 / −0.10 | +3.77 / −0.14 | +3.78 / −0.07 |
| DeepPrivacy2 per frame, Full Synthetic / Hybrid | +11.65 / −0.02 | +3.61 / −0.29 | +3.62 / −0.28 |
| DeepPrivacy2 full body fixed, Full Synthetic / Hybrid | +10.06 / +0.16 | +3.77 / −0.22 | +4.07 / −0.25 |
| DeepPrivacy2 full body per frame, Full Synthetic / Hybrid | +11.27 / +0.11 | +3.65 / −0.16 | +3.71 / −0.17 |

The fourth architecture agrees with the other three, and sharpens one point. DeepPrivacy2 again retrains to the no-information level (+3.6 to +4.1 against +3.52) and Hybrid again sits at baseline (−0.29 to +0.62). Trained on SimSwap and deployed on real faces, iTracker is worse than predicting the mean — +7.5 and +12.1 cm, every fold between 10.6 and 29.6 cm against 9.4 — while it fits the synthetic training set normally: it learns the synthetic faces and fails to transfer to real ones. A Full Synthetic SimSwap release can therefore be worse than useless to a third party, depending on their architecture.

Fold 2 is hard for every model, real data included (7.3–8.5 cm), which compresses all penalties in that fold. Tested on the release, the SimSwap Full Synthetic penalty is positive in 148 of 150 fold-level cells (two templates × three architectures × five folds × five initialisations).

## 8.4 What the cost means for clinical measurement

A centimetre figure on its own does not say whether a protocol is usable; it has to be set against what each biomarker needs to resolve. Tables 5–8 report the uncalibrated error, which is the right quantity for comparing arms, because holding calibration out isolates the effect of the imagery. It is the wrong quantity for asking whether the instrument is clinically usable, because a deployed screening tool calibrates each user. With per-participant calibration the same four architectures reach 3.70–5.11 cm on real data, which at the 80–120 cm viewing distance of our protocol is 1.8–3.7°.

Table 13. What each oculomotor biomarker must resolve, against the calibrated error of 1.8–3.7°. Requirements are derived from published normative ranges.

| Biomarker | What it must resolve | Requirement | Verdict at 1.8–3.7° |
| --- | --- | --- | --- |
| Anti-saccade directional error | which hemifield the gaze went to | coarse: roughly half the stimulus eccentricity | usable |
| Saccade latency | movement onset | one frame; 100°/s detection threshold [saccadethresh] | usable — measured bias −16.8 ms, under one 33 ms frame |
| Search-task dispersion | spread over tens of cm | coarse | usable |
| Fixation stability (BCEA) | healthy median 0.75–1.07 deg², a sub-degree ellipse [bcea] | < 0.5° | below our noise floor |
| Peak saccade velocity | a 30–80 ms movement | ≥ 250 Hz sampling | undersampled at 30 Hz |

Two of the five biomarkers are beyond this instrument before de-identification is considered, for reasons de-identification cannot change: fixation stability lives at a sub-degree scale our error cannot reach, and peak saccade velocity needs a sampling rate an order above 30 Hz. The three that do work are the coarse ones — hemifield discrimination, movement onset, and large-scale dispersion.

Table 14. Calibrated error per release protocol, in centimetres and in degrees of visual angle at 120 and 80 cm, as ranges over the four architectures.

| Arm | cm | angular (120 → 80 cm) |
| --- | --- | --- |
| Real Data | 3.70–5.11 | 1.8–3.7° |
| Hybrid (A / B) | 4.42–5.65 / 5.10–5.48 | 2.1–4.0° / 2.4–3.9° |
| Full Synthetic (A / B) | 7.28–8.97 / 8.69–11.21 | 3.5–6.4° / 4.1–8.0° |

This is what makes the utility axis interpretable. Hybrid leaves the instrument in the same regime (2.1–4.0° against a 1.8–3.7° baseline), so the biomarkers that worked still work. Full synthesis moves it to 3.5–8.0°, which is not a proportionate cost along a continuum but a move out of the regime: at 8° the hemifield discrimination that anti-saccade error rate depends on is no longer comfortably resolved. The protocol that keeps the measurement clinically usable is precisely the one that releases the participant's own ocular biometrics.

Webcam-based eye tracking validated on clinically relevant saccade and free-viewing paradigms reports about 1.42° mean error [webcamval]. That figure is obtained after careful per-user calibration, so the like-for-like comparison is with our calibrated 1.8–3.7°, not with the uncalibrated numbers in Table 5; on that basis the two sit in the same regime, with ours somewhat coarser.

# 9 Discussion

Every claim in this section concerns appearance-based gaze data — face and eye crops released for training gaze models. We make no claim about other sensing modalities; the evidence does not reach them.

The pixels that make gaze estimation work are the pixels that identify. Every protocol we tested that kept the gaze signal did so by keeping genuine ocular imagery, and genuine ocular imagery verifies identity at 62–80% against a 1.6% floor. Hybrid recovers 85–101% of the synthesis penalty, and 91–106% when the models are retrained on the release, precisely because what it restores is the participant's own eye pixels. Releasing no pixels at all does not escape this: four iris coordinates per frame still link the release (ARI 0.27) while carrying almost no gaze signal across participants. For gaze data there is no part of the face that is useful for the task and safe to release unchanged.

Re-identification survives on the face crop; linkability survives everywhere. Synthesising the eyes defeats an attacker holding the participants' photographs on the eye crops — A1 is at the floor for every full-synthesis method — but not on the face crop: SimSwap's and FAMS's synthetic faces still verify against the participant's own photographs at 18–24% TAR under ArcFace, against a 1.6% floor, and only DeepPrivacy2, which repaints the face, reaches the floor. Linkability is harder still: the same synthetic eye crops that score 0.2% against photographs verify at 43% within the release, and face crops partition exactly by participant. Under the European test for anonymisation, being able to single out each participant's records is enough for a release to remain personal data, whether or not anyone is named [wp29anon]. The channels that carry this — hair and skin at the crop border, head pose, crop geometry, illumination — are left alone by inner-face editing, and two of them need no face model at all: crop dimensions alone identify 66.7% of participants, photometric statistics alone link at ARI 0.87–0.90. A privacy number reported without its attacker therefore cannot tell a dataset author whether a release is safe.

Each half of the condition is attainable; their conjunction is not yet. Release-only linkage falls only when the synthetic identity is not held fixed per participant and the release contains nothing the generator leaves untouched; it matters for releases that strip participant identifiers, since one that keeps them is linkable by construction. We observed each half separately. The diffusion anonymiser breaks per-participant consistency by construction and yields models that transfer to real faces — though its pupils carry less gaze than SimSwap's — but leaves the face crop linkable (ARI 0.85–0.94) and, under ArcFace, verifiable against the participant's photographs. Full-body inpainting with a fresh identity per frame meets both halves and breaks discovery of the cohort (face-crop ARI 0.297), but it repaints the eyes, and a gaze model trained on it learns nothing. Even there, an attacker with a few labelled frames per person still verifies 36% of them: the condition blocks discovery, not verification. What a releasable gaze corpus would need is therefore specific: a generator that keeps the pupil at least as faithfully as face swapping does, produces eyes from which models transfer to real users as the diffusion anonymiser's do, edits everything the released crop contains, and resamples identity per recording session rather than per frame — per-frame resampling breaks the temporal coherence gaze pipelines rely on, and per-session resampling cannot be verified on a single-session corpus like ours. We know of no method that meets all four.

Utility has to be measured the way the release will be used. Deploying a model trained on real data on de-identified crops conflates two things that retraining separates. For inpainting, most of the deployment penalty is domain shift, yet what remains after retraining is the no-information level: the repainted eyes carry no recoverable gaze. For face swapping the penalty survives retraining, and for one architecture a model trained on the swapped release is worse than predicting the mean on real faces. A utility figure for a released gaze corpus should therefore come from models trained on the release and tested on real faces, reported beside the error of predicting the mean gaze point — and the pupil should be checked directly, because transfer and information can diverge: the release that transfers best carries less pupil signal than the one that transfers worst.

What this means for releasing gaze data now. None of the protocols we measured makes a smartphone gaze corpus anonymous in the European sense: a usable release keeps each participant's frames together, so it is linkable by construction, and every gaze-preserving protocol also leaves residual re-identification on the face or eye crops. CognitiveGaze is therefore shared under controlled access, with derived gaze traces in an open tier whose own linkage we measured rather than assumed (ARI 0.033, low but not zero). We release the measurements as a tool, privaudit, and a fifteen-item checklist, so that a gaze dataset can be audited against the attacks and floors used here before it is shared; the tool reproduces every eye-ROI result in this paper.

In the terms of the cycle in §1, this paper does not break it, and we do not claim to. Our own corpus ends where the cycle predicts — under controlled access — because no de-identification we measured yields a release that is both unlinkable and useful. What changes is the step at which the next group decides: instead of assuming that a de-identified release is safe, or that it is useless, a dataset author can measure both before publishing, and a generator developer knows what a gaze-preserving method must achieve (§10) for the cycle to open.

# 10 Design Guidelines for Releasing Gaze Data

Table 15 distils the results into seven guidelines for authors of appearance-based gaze datasets, each with the evidence behind it and how to check it. The full fifteen-item checklist and the audit tool are in the supplementary material [privaudit-repo].

Table 15. Design guidelines for releasing gaze data.

| # | Guideline | Evidence in this paper | Check |
| --- | --- | --- | --- |
| G1 | Report re-identification on every released stream, and test linkability. Run A1 against photographs on each stream, face crop included, and report whether the content singles out participants (A2) as the anonymisation test. | Synthetic eye crops: 0.2% under A1, 43% under A2; synthetic face crops still 18–24% under A1. | privaudit R2–R4 |
| G2 | Measure a floor on your own recordings. Run every attack on a face-free patch of the same frames and quote results against it. | Single-session floor: TAR 1.57%, Rank-1 ~50%, ARI 0.074–0.089. | privaudit R0 |
| G3 | Do not buy utility by releasing real eyes. Retaining genuine ocular crops restores accuracy and releases the biometric with it. | Hybrid recovers 85–106% of utility; real eye crops verify at 62–80%. | privaudit R2–R3 on eye streams |
| G4 | Close the channels that need no face model. Release every crop at one fixed size and normalise per-crop photometry. | Crop size alone: 66.7% identification; photometry alone: ARI 0.87–0.90. | privaudit R5, R6 |
| G5 | Meet both halves of the condition. Do not hold the synthetic identity fixed per participant, and release nothing the generator does not edit. | Only the cell meeting both breaks face-crop linkage (1.000 → 0.297); verification still 36%. | privaudit R2, R3, R7 |
| G6 | Measure utility by training on the release, and check the pupil directly. Test on real faces, report the predict-the-mean error beside it, and measure whether the released pupil still follows true gaze. | Deployment-only penalties of +10–15 cm shrink to the no-information level after retraining; FAMS transfers best yet its pupils track gaze less closely than SimSwap's (17/17 participants). | — (retraining protocol, §8.3) |
| G7 | If any check fails, use controlled access. Share under an agreement that forbids re-identification and linkage, and state which channels leak. | No protocol tested passes G1–G5 with useful gaze accuracy. | privaudit overall verdict |

# 11 Limitations

Five constraints bound these conclusions. Participants were recorded in a single session. We attacked the resulting confound directly — photometric normalisation and a large within-session illumination change both leave the linkage intact — so the recogniser is not exploiting imaging conditions. But the dissociation is partial: changing the screen does not change the ambient lamp, the camera position or the seating, and "this participant's skin tone under this lamp" cannot be separated from "this recording's exposure" without a second session. That also bounds the photometric attack we report, which is high precisely because the two are confounded. The longitudinal tracking that makes linkage consequential is itself the cross-session case, so a second recording remains the decisive experiment and we did not run one. The cohort is 18 healthy adults, moderately homogeneous in ethnicity and age and recruited from a single institution, so we make no claim about clinical populations and describe the contribution as an evaluation of dataset release rather than of home screening. Privacy is measured with two recogniser families, both trained on web-scale face corpora, and they can disagree: FaceNet places the FAMS face crop at its floor where ArcFace does not. Recognition by people who know the participants — who use hairstyle, glasses and face shape, which FAMS preserves — was not measured. The structural claim is tested on one replacement method (two templates), one removal method in two modes and one diffusion method; methods editing in diffusion latent space are untested. Full-body DeepPrivacy2 ran without its generator for persons that DensePose fails to map (the weights are no longer distributed). The participant was mapped and repainted in every frame; in 1.4% of frames a second person region took the unmapped path and was left unedited, outside the released crops. On footage with more people, or people DensePose cannot map, that path would release them unedited. Retraining on the release was run with five initialisations for three architectures and one for iTracker (about 9 h per fold); FAMS was retrained on the three faster architectures only.

# 12 Conclusion

De-identification for gaze data has been judged by whether the face still looks like the participant. We measured instead whether the release can still be linked and whether a model trained on it still works, across three generator families, two release forms and three training conditions. No configuration was both: the ones that keep the gaze signal keep the identity, and the one that breaks linkage leaves nothing to learn from. The two-part condition says what a generator would have to do to change that, and the audit tool lets a dataset author check, before release, whether theirs does.

# Data Availability

CognitiveGaze contains facial video and is shared under controlled access: researchers apply to the data holder and sign a data-use agreement that prohibits re-identification and linkage. Derived per-frame gaze estimates and oculomotor measures form an open tier, whose residual linkage is reported in §7. The audit tool privaudit, the fifteen-item release checklist and the analysis code are available at [privaudit-repo].

# Supplementary Figures

Figure S1. Utility under three training conditions. (a) Full Synthetic and (b) Hybrid penalty against each model's real-data baseline, for models trained on real data and tested on de-identified crops (grey), and models retrained on the release and tested on real (green) or de-identified (purple) faces. Bars: mean of three architectures; dots: each architecture. Red band: no-information reference; grey band: initialisation noise floor. Retraining removes most of the DeepPrivacy2 penalty but stops at the no-information level; it does not remove SimSwap's; for FAMS it removes most of it on real faces (+0.94 cm) and less on the release (+2.15 cm). Hybrid recovers most of the penalty in every condition and, once retrained, lies within the noise floor.

Figure S2. The same de-identified eye crops under two attackers. True-accept rate at a false-accept rate of 1e-3 for the left and right eye ROI, unprocessed and SimSwap with two target identities (t1 = identity A, t2 = identity B). Blue: an attacker who holds enrolment photographs of the participants (A1) and matches them against the release. Orange: an attacker who holds only the release (A2), matching first-half templates against second-half probes. Vertical line: the eye-native floor (1.57%), measured on a face-free patch of the same frames. Unprocessed eyes verify at 62–67% under both attackers. SimSwap drives A1 to the floor (0.2–1.8%) while A2 still verifies 43–62%: a privacy figure reported without its attacker can differ by 60 points on identical data.